TERUMOBC7

WMD-102B, Rev. 1

Page 2 of 2

Per WMD-102

| Tensile Strength TEST | Machine : |
| --- | --- |
| Customer Address: | Serial Nr : |
|  | Branch : |
|  | Date : |
| Contact person and fax number where the results should be send to: |  |
| Important remarks: Tube length should be at least 12 cm Weld should be at least 4.5 cm from the ends of the sample Tubes should be empty and cleaned The tests are performed in blocks of maximum 10 welds Tubes used: Conditions of weld and tubing: Date of welding: |  |

The above questions and remarks should be filled in completely

Signature customer:

Test Results: The welded tubing under test will be submitted to a tensile test.

The breaking force will be recorded.

The average and minimum value of all tubes will be calculated and noted.

The welds tested will be discarded after the test has been performed.

Customer	Tube Cleaned	Result	Remarks

Reference	Length	N

| 1 |  |  | No |  |  |
| --- | --- | --- | --- | --- | --- |
| 2 |  |  | No |  |  |
| 3 |  |  | No |  |  |
| 4 |  |  | No |  |  |
| 5 |  |  | No |  |  |
| 6 |  |  | No |  |  |
| 7 |  |  | No |  |  |
| 8 |  |  | No |  |  |
| 9 |  |  | No |  |  |
| 10 |  |  | No |  |  |
| Minimum value: Average value: St.dev.: |  |  |  | 0.0 |  |
|  |  |  |  | 0.0 |  |
|  |  |  |  | 0.0 |  |

Serial number traction device:

Calibration date of tensile strength tester:

Remarks:

Signature Test Engineer:	Signature Quality Reviewer:

Proprietary and Confidential - Do not use paper copies without verifying that the correct version is in use
Completed reports are filled at location Servicing & retention time 10 yrs